SECTION G:

DISASTER RECOVERY PLAN

Section G: Table of Contents

Recovery Plan Overview

Damage and Operational Assessments

Facility System Status Report

Recovery Checklist

Form 301 - Department Rapid Assessment Form

Full Recovery

Structure

Utilities

Food Services

Resident Services

Information Technology

Staffing

# RECOVERY PLAN OVERVIEW

The three stages of Disaster Recovery contained within the Emergency Operations Plan include:

- Immediate Recovery:  Comprised of the internal actions taken until external services can reach the facility.

- Long-Term Temporary Recovery:  Considered to be the actions and equipment that allow the facility to operate at some level until operations return to pre-disaster conditions.

- Full Recovery:  The return of the facility to its pre-disaster conditions.

Generalized actions for the Recovery Plan reside in each disaster-specific procedure. The Recovery Plan is supported by the Emergency Resources and Lists found in Section F.

The facility Command Center will manage the recovery process through the use of the Incident Command System.

Plan of Action:

- Follow guidelines for specific disasters, such as loss of utilities, located in Section E: Emergency Procedures for Specific Events.

- Complete an assessment (See Department Rapid Assessment) of your department’s operational ability and report the status to the Command Center.

DAMAGE AND OPERATIONAL ASSESSMENTS

(Including Checklists)

Maintenance, with special expertise support (i.e., Architect and/or Structural Engineering), will evaluate structure and utilities.

Department Heads should assess their own areas and provide a report to the Command Center via the Department Rapid Assessment Form.

The following assessment priority should be considered:

- Structural and utility stability

- Life support functions

- Food and liquids

- Infection control ability

- Pharmaceuticals/Medications

- Electronic and Information Systems

- Vital consumable materials

- Staff housing

- Other areas, as time allows

This information will allow the Incident Commander to make a decision to sustain operations within the facility or conduct a full or partial evacuation.

Note:  If the facility is severely damaged, residents may have to be relocated/evacuated to allow the facility to recover fully.

| ## FACILITY SYSTEM STATUS REPORT |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1. Operational Period Date/Time |  | 2. Date Prepared |  | 3. Time Prepared | 4. Building Name: |
| 5. SYSTEM STATUS CHECKLIST |  |  |  |  |  |
| COMMUNICATION SYSTEM | OPERATIONAL STATUS |  | COMMENTS (If not fully operational/functional, give location, reason, and estimated time/resources for necessary repair. Identify who reported or inspected.) |  |  |
| Fax | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Information Technology System (email/resident records/timecard system/intranet, etc.) | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Nurse Call System | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Paging - Public Address | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Satellite System | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Telephone System, External | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Telephone System, Proprietary | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Video-Television-Internet-Cable | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Other | Fully functional Partially functional Nonfunctional |  |  |  |  |
| INFRASTRUCTURE SYSTEM | OPERATIONAL STATUS |  | COMMENTS (If not fully operational/functional, give location, reason, and estimated time/resources for necessary repair. Identify who reported or inspected.) |  |  |
| Campus Roadways | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Fire Detection/Suppression System | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Food Preparation Equipment | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Ice Machines | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Laundry/Linen Service Equipment | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Structural Components (building integrity: columns, beams, walls, ceiling, roof) | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Other | Fully functional Partially functional Nonfunctional |  |  |  |  |
| RESIDENT CARE SYSTEM | OPERATIONAL STATUS |  | COMMENTS (If not fully operational/functional, give location, reason, and estimated time/resources for necessary repair. Identify who reported or inspected.) |  |  |
| Isolation Rooms (positive/negative air) | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Other | Fully functional Partially functional Nonfunctional |  |  |  |  |
| SECURITY SYSTEM | OPERATIONAL STATUS |  | COMMENTS (If not fully operational/functional, give location, reason, and estimated time/resources for necessary repair. Identify who reported or inspected.) |  |  |
| Access Control Systems | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Surveillance Cameras | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Resident Elopement System | Fully functional Partially functional Nonfunctional |  |  |  |  |
| UTILITIES, EXTERNAL SYSTEM | OPERATIONAL STATUS |  | COMMENTS (If not fully operational/functional, give location, reason, and estimated time/resources for necessary repair. Identify who reported or inspected.) |  |  |
| Electrical Power-Primary Service | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Sanitation Systems | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Water Supplies: Domestic | Fully functional Partially functional Nonfunctional |  | (Reserve supply status) |  |  |
| Water Supplies: Industrial | Fully functional Partially functional Nonfunctional |  | (Reserve supply status) |  |  |
| Water Removal Systems | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Natural Gas | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Other | Fully functional Partially functional Nonfunctional |  |  |  |  |
| UTILITIES, INTERNAL SYSTEM | OPERATIONAL STATUS |  | COMMENTS (If not fully operational/functional, give location, reason, and estimated time/resources for necessary repair. Identify who reported or inspected.) |  |  |
| Air Compressor | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Electrical Power, Backup Generator | Fully functional Partially functional Nonfunctional |  | (Fuel status) |  |  |
| Electrical Power: Life Support Functions | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Elevators | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Hazardous Waste Containment System | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Heating, Ventilation, and Air Conditioning (HVAC) | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Oxygen | Fully functional Partially functional Nonfunctional |  | (Reserve supply status) |  |  |
| Steam Boiler | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Sump Pump | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Well Water System | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Vacuum (for resident use) | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Water Heater and Circulators | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Other Areas: Internal Command Center | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Other Areas: Medical Director’s Office | Fully functional Partially functional Nonfunctional |  |  |  |  |
| Other Areas: Staff Housing | Fully functional Partially functional Nonfunctional |  |  |  |  |
| 6. CERTIFYING OFFICER |  |  |  |  |  |
| 7. FACILITY NAME |  |  |  |  |  |

## Recovery Checklist

This document is a checklist of potential issues to review after a disaster to assist facilities in maintaining a safe environment of care.

| ISSUE | ACTION ITEMS | YES/NO Initials |
| --- | --- | --- |
| Access | 1. Safe access and egress is assured to/from buildings for people and supply deliveries. |  |
|  | 2. Safe access and egress are assured for ambulances. |  |
| Comments: |  |  |
| Building(s) | 1. Building(s), or parts of building(s) in use, have been declared safe for their intended use by appropriate governmental/regulatory agencies for fire; environmental (water and air quality); engineering (Life Safety Code, structural and electrical integrity, environmental controls, medical gas system); etc., as appropriate, prior to their use. |  |
|  | 2. Community fire fighting services available. |  |
|  | 3. Appropriate plan for pest control and/or containment. |  |
|  | 4. Adequate staff and resources to maintain facilities (buildings and facility equipment) currently in use. |  |
|  | 5. Adequate environmental control systems in place. |  |
| Comments: |  |  |
| Communication: Internal | 1. Adequate call system enabling residents to summon staff for assistance. |  |
|  | 2. Functional system in place for internal communication with all areas of the facility. |  |
|  | 3. Emergency call system functional to summon assistance to a specific area (i.e., cardiac arrest, fire, or security emergency). |  |
|  | 4. Functional fire alarm system for receiving manual (pull station) or automatic (e.g., smoke/heat detectors, water flow, etc.) inputs and issuing appropriate automatic outputs (visual and audible annunciators, elevator recall, HVAC shutdown, signal to fire department or central station alarm monitoring service, etc.). |  |
|  | 5. Notify staff of what is operational, what is not operational, and alternate means of communication. |  |
| Comments: |  |  |
| Communication Systems: External | 1. Communication system functional to summon outside assistance for police, fire department, and other community resources. |  |
| Comments: |  |  |
| Food Services | 1. Adequate facilities, personnel, and supplies onsite to meet the nutritional needs of residents (and personnel as necessary). |  |
|  | 2. Adequate equipment and facilities, including refrigeration, for storage of foods and dietary supplies. |  |
|  | 3. Adequate storage for all prepared food to ensure appropriate temperature and sanitation. |  |
|  | 4. Food approved for re-use by appropriate governmental agencies if applicable. |  |
| Comments: |  |  |
| Electrical Systems | 1. Vaults - Main switches operational. - Utilities transfer switches operational. |  |
|  | 2. Distribution Panels - Fuses operational. - Breakers operational. |  |
|  | 3. Transformers reviewed. |  |
|  | 4. Emergency generators, backup batteries, and fuel are available for any location where residents are incapable of self-preservation, as well as other critical areas. Transfer switches in working order. Sufficient fuel for generators. |  |
|  | 5. Test equipment for confirming voltage and amperage. |  |
| Comments: |  |  |
| Emergency Preparedness and Management | 1. Disaster plan in place for timely evacuation of residents to a safe location for internal and external disasters, and the plan is adequate to address the safety of residents and/or staff. |  |
|  | 2. The facility should be enabled to address subsequent emergencies, indicating the establishment of a functional all hazards command structure and the replenishment of emergency supplies and other equipment. |  |
|  | 3. Adequate equipment and supplies on-site (including oxygen) for planned services. |  |
|  | 4. Equipment is inspected and cleared for resident use prior to use. |  |
|  | 5. Mechanism in place for replenishing supplies. |  |
|  | 6. Ability to maintain resident care equipment that is in use. |  |
|  | 7. Ability to provide oxygen in a safe manner, indicating the presence of materials such as compressors/dryers, a piping system, vacuum piping and pumps, controls, and alarms. |  |
|  | 8. Flashlights and batteries (including radio and ventilator batteries) are available. |  |
| Comments: |  |  |
| Maintenance | 1. Cooling Plant - Chiller/DX/absorption unit operational. - Pumps operational. - Valves and controls operational. - Cooling towers operational. - Fan coil units operational. |  |
|  | 2. Heating Plant - Boiler system operational. - Support systems (feedwater pumps, diesel tank, etc.) operational. - Heating system (converters, valves, etc.) operational. - Process steam (sterilizers, general building systems, etc.) operational. - Diesel tank re-filled. Diesel Vendor is operational. |  |
|  | 3. Distribution System - Ductwork, including functional smoke detection / alarm capability and dampers, operational. - Piping operational. - Valves and controls, including functional emergency fan shutdown tied into the fire alarm system and emergency smoke purge capability, operational. - Risers operational. - Filtration operational. - Negative pressure (ability to maintain CDC-compliant air exchanges) operational. |  |
|  | 4. Treatment Chemicals - Water / Boiler treatment |  |
| Comments: |  |  |
| Infection Control | 1. Procedures in place to prevent, identify and contain infections and communicable diseases. |  |
|  | 2. Procedures and mechanisms in place to isolate and prevent contamination from any unused portions of the facility. |  |
|  | 3. Adequate personnel and resources to maintain a sanitary environment. |  |
|  | 4. Process in place to segregate until discarded previously contaminated supplies, medications, etc., prior to reopening the facility. |  |
| Comments: |  |  |
| Information Technology / Medical Records | 1. Ensure that all usual internal and external systems, backup systems, clinical systems, medical information systems, and resident registration systems are functional, or there is an alternate method for capturing the information. |  |
|  | 2. System in place to maintain a medical record for each resident served. |  |
|  | 3. Storage space to ensure security and maintain the integrity of medical records (i.e., protection from fire, environmental hazards, unauthorized access). |  |
|  | 4. System in place to ensure medical records are readily accessible and promptly retrievable when needed. |  |
| Comments: |  |  |
| Management | 1. Resources and capability to deliver services assured by management prior to initiation of services. |  |
|  | 2. Management staff onsite to ensure the health and safety of residents and staff. |  |
|  | 3. Adequate resources, personnel, and supplies onsite to meet the needs of residents for the services offered. |  |
|  | 4. Adequate arrangements for care and services of individuals whose condition exceeds the capability of the facility have been established. |  |
|  | 5. All initial services and each expansion of services approved by applicable government authorities prior to the location being used and initiation of services. |  |
| Comments: |  |  |
| Morgue | 1. Adequate arrangements for storage and management of deceased individuals. |  |
| Comments: |  |  |
| Personnel | 1. Adequate types and numbers of personnel onsite for services. |  |
|  | 2. Adequate staffing plan to maintain personnel (e.g., transportation, meals and lodging, laundry, etc.). |  |
|  | 3. Any non-facility employed staff comply with State licensure requirements. |  |
| Comments: |  |  |
| Pharmaceuticals / Medications | 1. Adequate facilities, equipment, supplies, and appropriate staff to meet the pharmaceutical needs of residents. |  |
|  | 2. Adequate equipment and facilities, including refrigeration for the storage of drugs. |  |
|  | 3. Remove any unsafe/damaged medications from medication rooms and/or and residents. |  |
| Comments: |  |  |
| Security | 1. A system of security in place to ensure the safety of residents, visitors, and staff, including access control, securing sensitive areas, protection of property, and processing identification cards, locks, and keys. |  |
|  | 2. Outside law enforcement personnel conferred with regarding appropriate facility security, if necessary. |  |
| Comments: |  |  |
| Sterile Procedures Systems, as applicable | 1. Systems for sterile procedures (steam, gas, cold) are functional. |  |
| Comments: |  |  |
| ISSUE | ACTION ITEMS | YES/NO Initials |
| Vendors | 1. Ensure all vendors are operational and supplies are available. |  |
| Comments: |  |  |
| Waste Management | 1. System in place for trash handling (e.g., conveyors, compactors, etc.) and removal (solid and liquid). |  |
|  | 2. System in place for regulated medical and hazardous waste storage and removal. |  |
| Comments: |  |  |
| Water Systems | 1. Potable water for drinking, bathing, food service, and for all planned resident services. |  |
|  | 2. Distribution pumps operational. |  |
|  | 3. Water towers/tanks operational. |  |
|  | 4. Sewer Systems - Sanitary - Storm |  |
|  | 5. Fire suppression (fire pumps, sprinkler risers and lines, standpipes, and water flow detection/alarm capability) operational. |  |
| Comments: |  |  |

| INSERT FACILITY NAME | ### Form 301 - Department Rapid Assessment Form |
| --- | --- |

THIS IS A TWO PAGE FORM

Sections to be filled out determined by Incident Commander

Instructions:  Immediately when Code ______ is announced, the person in charge in each unit/department shall complete the appropriate sections of this form and deliver it to the Command Center.

| Date | Time | Unit/Department & Location | Person in Charge (Name/Title/Best Phone #) |
| --- | --- | --- | --- |

1.  Staffing Show total staff presently on duty by title/position

Are you staffed at a minimum safe level for the disaster?  Yes / No   If no, do you need to recall staff from home?  Yes / No

| Type of Position | Number Present | Available for the Labor Pool (if needed) |
| --- | --- | --- |

2.  Total Unit Resident Census:  ______   3.  Total Residents for Discharge to Home:  _________

4.  Full Evacuation – Note the type of vehicles needed to transport residents to another facility

Enter the total number of residents per category to assist in determining transportation requirements

| Ambulance: | Wheelchair Van: | Ambulatory -Van /Bus: |
| --- | --- | --- |

5.  Resource Status        Show the status of major equipment or critical supplies on the unit, both on hand (including in use)

and available for redeployment as needed (add equipment as necessary)

| Resource | Quantity On Hand | Available for Deployment | Resource | Quantity On Hand | Available for Deployment |
| --- | --- | --- | --- | --- | --- |
| Wheelchairs |  |  | Geri Chairs |  |  |
| IV pumps |  |  | Resident lifts |  |  |
| BP machines |  |  | Other: |  |  |
| AED |  |  |  |  |  |
| Oxygen tanks |  |  |  |  |  |
| Oxygen Concentrators |  |  |  |  |  |
| Oxygen regulators |  |  |  |  |  |

6.  Technology/Utility Systems Status	Show the status of major technology and utility systems used in or supporting your department

(e.g., phones, lights, computers, heat, AC, water)

| Technology Item | Status (OK or Not Working – Explain status if necessary) |
| --- | --- |
| Lighting/Electricity |  |
| Telephones |  |
| Fax Machine/Line |  |
| Red Outlets (emergency) power |  |
| Nurse Call System |  |
| Computers |  |
| Heat / AC |  |
| Water |  |

| Date | Time | Unit/Department & Location | Person in Charge (Name/Title/Best Phone #) |
| --- | --- | --- | --- |

7.  Operational Status	 Are you fully operational, limited capability, non-operational (describe). Describe any other issues or problems in

your dept.  (e.g., need staff, staff needs relief; cleanup necessary)

| Fully Operational | Limited Capability | Non-operational |
| --- | --- | --- |

8.  Additional Information: The following information should be provided following the initial rapid assessment; if requested, please send on a separate sheet if additional information is necessary.

STAFFING:  If off-duty staff cannot come in, how long can you operate?

SUPPLIES:  List how long (# of hours) can you operate with present supply of vital consumable materials?  After you determine your present status, please give your most accurate estimation on the status of your unit/ department as time progresses (explain below what could enable you to extend your operating capability):

8 hours: ___________________________________________________________________________

12 hours: __________________________________________________________________________

24 hours: __________________________________________________________________________

48 hours: __________________________________________________________________________

72 hours: __________________________________________________________________________

96 hours: __________________________________________________________________________

OTHER RECOVERY ISSUES: What services need to be resumed or recovered first (prioritize) to enable your unit/department to become operational, and what resources are necessary to assist you in accomplishing this goal?

# FULL RECOVERY

Full Recovery:  This is the return of the facility and its operations to pre-disaster conditions.

The following information must be completed by applicable regulatory agencies such as local/state health or other noted individuals.

### Structure

The following individuals have surveyed the structure, and it has been declared safe to be occupied or is fully recovered.

|  | Areas Surveyed | Areas Approved | Signature of Health Department Surveyor |
| --- | --- | --- | --- |
| Architect |  |  |  |
| Structural Engineer |  |  |  |
| General Construction |  |  |  |

### Utilities

Utilities have been returned to normal operation.

|  | Internal Equipment (Contractors) | Public Utility Company | Signature of Health Department Surveyor |
| --- | --- | --- | --- |
| Power |  |  |  |
| Gas |  |  |  |
| Water |  |  |  |
| Communication Systems |  |  |  |
| Oxygen System |  |  |  |
| HVAC System |  |  |  |
| Fire Alarm System |  |  |  |

### Food Services

Food Services have been inventoried, and foods and liquids have been found to be adequately stocked and able to return to normal operation:

| Areas Surveyed | Areas Approved | Signature of Health Department Surveyor |
| --- | --- | --- |

### Resident Services

Resident Services have been reviewed by the following individuals and have returned to normal operation.

|  | Areas Surveyed |  | Areas Approved | Signature of Health Department Surveyor |
| --- | --- | --- | --- | --- |
| Pharmaceutical/Medication Storage |  |  |  |  |
| Clinical Supplies |  |  |  |  |
| General Resident Areas |  |  |  |  |

### Information Technology

Information Technology has been reviewed by the following individuals and has been approved to return to normal operation.

| Systems Reviewed | Approved By |
| --- | --- |

### Staffing

Staffing has been reviewed by the following individuals and has been found adequate to return to normal operation.

|  | Areas Surveyed | Areas Approved | Signature of Internal Surveyor | Signature of Health Department Surveyor |
| --- | --- | --- | --- | --- |
| Nursing |  |  |  |  |
| Support Services |  |  |  |  |
| Office / Clerical Staff |  |  |  |  |

Delete if not applicable

Revise Checklist as necessary

Delete if not applicable

Delete if not applicable

Delete if not applicable

Revise Checklist as necessary

Delete if not applicable

Insert previously customized form from Section C: Incident Command System

Delete if not applicable